## Sheet1
| khs_id | kategori | nama_item | satuan_id | volume | harga_satuan | tkdn
1 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 10 - 6 mm2 | 2 | 1 | 31770 | 89.48
2 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 10 - 10 mm2 | 2 | 1 | 31770 | 89.48
3 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 10 - 10 mm2 | 2 | 1 | 34070 | 89.48
4 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 16 - 6 mm2 | 2 | 1 | 34070 | 89.48
5 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 16 - 10 mm2 | 2 | 1 | 34070 | 89.48
6 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 16 - 16 mm2 | 2 | 1 | 34070 | 89.48
7 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 25 - 25 mm2 | 2 | 1 | 57140 | 89.48
8 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 35 - 35 mm2 | 2 | 1 | 57140 | 89.48
9 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 35 - 50 mm2 | 2 | 1 | 57140 | 89.48
10 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 50 - 25 mm2 | 2 | 1 | 76500 | 89.48
11 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 50 - 35 mm2 | 2 | 1 | 76500 | 89.48
12 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 50 - 50 mm2 | 2 | 1 | 76500 | 89.48
13 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 50 - 70 mm2 | 2 | 1 | 76500 | 89.48
14 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 70 - 50 mm2 | 2 | 1 | 82380 | 89.48
15 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 70 - 70 mm2 | 2 | 1 | 82380 | 89.48
16 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 70 - 95 mm2 | 2 | 1 | 82380 | 89.48
17 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 95 - 70 mm2 | 2 | 1 | 103570 | 89.48
18 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 95 - 95 mm2 | 2 | 1 | 103570 | 89.48
19 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 120 - 120 mm2 | 2 | 1 | 111810 | 89.48
20 | 2 | Material | Bimetal compression joint ( AL / CU ) + Heatshrink 150 - 150 mm2 | 2 | 1 | 116280 | 89.48
21 | 2 | Material | Compression Joint + Heatshrink ( CU ) 4 - 4 mm2 | 2 | 1 | 9300 | 50
22 | 2 | Material | Compression Joint + Heatshrink ( CU ) 10 - 10 mm2 | 2 | 1 | 10590 | 50
23 | 2 | Material | Compression Joint + Heatshrink ( CU ) 16 - 16 mm2 | 2 | 1 | 11700 | 50
24 | 2 | Material | Joint Sleeve compresion 35 / 70 mm (Al/Cu) | 2 | 1 | 62710 | 20.23
25 | 2 | Material | Joint Sleeve compresion 70 / 70 mm (Al/Cu) | 2 | 1 | 67400 | 20.23
26 | 2 | Material | Compression tension joint AAAC 25-35 mm2 | 2 | 1 | 38330 | 67.31
27 | 2 | Material | Compression tension joint AAAC 50 mm2 | 2 | 1 | 48630 | 67.31
28 | 2 | Material | Compression tension joint AAAC 70 mm2 | 2 | 1 | 63150 | 67.31
29 | 2 | Material | Compression tension joint AAAC 95 mm2 | 2 | 1 | 87330 | 67.31
30 | 2 | Material | Compression tension joint AAAC 120 mm2 | 2 | 1 | 106330 | 67.31
31 | 2 | Material | Compression tension joint AAAC 150 mm2 | 2 | 1 | 109390 | 67.31
32 | 2 | Material | Compression tension joint AAAC 185 mm2 | 2 | 1 | 143420 | 67.31
33 | 2 | Material | Compression tension joint AAAC 240 mm2 | 2 | 1 | 142420 | 67.31
34 | 2 | Material | Compression connector AL 70 - 70 mm2 ( CCO ) | 2 | 1 | 19390 | 50.88
35 | 2 | Material | Compression connector AL 70 - 150 mm2 ( CCO ) | 2 | 1 | 26270 | 50.88
36 | 2 | Material | Compression connector AL 150 - 150 mm2 ( CCO ) | 2 | 1 | 29180 | 50.88
37 | 2 | Material | Compression connector AL 150 - 240 mm2 ( CCO ) | 2 | 1 | 25840 | 50.88
38 | 2 | Material | Compression connector AL 240 - 240 mm2 ( CCO ) | 2 | 1 | 40890 | 50.88
39 | 2 | Material | Parallel Groove Clamp AL / AL 25 - 70 mm2 | 2 | 1 | 19600 | 69.8
40 | 2 | Material | Parallel Groove Clamp AL / AL 70 - 150 mm2 | 2 | 1 | 39050 | 69.8
41 | 2 | Material | Parallel Groove Clamp AL / AL 150 - 240 mm2 | 2 | 1 | 49800 | 68.42
42 | 2 | Material | Compression non tension joint LVTC + heat shrink 35 mm² | 2 | 1 | 22500 | 68.17
43 | 2 | Material | Compression non tension joint LVTC + heat shrink 50 mm² | 2 | 1 | 25500 | 68.17
44 | 2 | Material | Compression non tension joint LVTC + heat shrink 70 mm² | 2 | 1 | 31500 | 68.17
45 | 2 | Material | Compression non tension joint LVTC + heat shrink 95 mm² | 2 | 1 | 35000 | 68.17
46 | 2 | Material | Compression non tension joint LVTC + heat shrink 120 mm² | 2 | 1 | 42680 | 68.17
47 | 2 | Material | Compression non tension joint LVTC + heat shrink 150 mm² | 2 | 1 | 54630 | 68.17
48 | 2 | Material | Compression non tension joint LVTC + heat shrink 185 mm² | 2 | 1 | 64490 | 68.17
49 | 2 | Material | Compression non tension joint LVTC + heat shrink 240 mm² | 2 | 1 | 71900 | 68.17
50 | 2 | Material | Live Line Clamp (LLC) 35 - 70 mm | 2 | 1 | 204700 | 50
51 | 2 | Material | Live Line Clamp (LLC) 70 - 150 mm | 2 | 1 | 323450 | 50
52 | 2 | Material | Vinyl /tanda fasa kabel 70 mm | 2 | 1 | 11500 | 50
53 | 2 | Material | Vinyl /tanda fasa kabel 95 mm | 2 | 1 | 13300 | 50
54 | 2 | Material | Travers dudukan fuse cut out/Arrester UNP 10 x 1.200 mm | 2 | 1 | 415400 | 50
55 | 2 | Material | Travers dudukan fuse cut out/Arrester UNP 10 x 2000 mm | 2 | 1 | 550940 | 50
56 | 2 | Material | Travers dudukan fuse cut out/Arrester UNP 10 x 2400 mm | 2 | 1 | 706570 | 50
57 | 2 | Material | Travers dudukan PHB TR 3 phasa lengkap (UNP 6,5 x 600 mm) | 2 | 1 | 203440 | 50
58 | 2 | Material | Travers dudukan PHB TR 3 phasa lengkap (UNP 6,5 x 750 mm) | 2 | 1 | 225220 | 50
59 | 2 | Material | Travers dudukan PHB TR 3 phasa lengkap (UNP 6,5 x 2400 mm) | 2 | 1 | 429410 | 50
60 | 2 | Material | Travers/ Cross arm UNP 80 x 50 x 5 x 2000 mm | 2 | 1 | 514790 | 49.76
61 | 2 | Material | Travers/ Cross arm UNP 100 x 50 x 5 x 1000 mm | 2 | 1 | 363570 | 49.76
62 | 2 | Material | Travers/ Cross arm UNP 100 x 50 x 5 x 1200 mm | 2 | 1 | 415400 | 49.76
63 | 2 | Material | Travers/ Cross arm UNP 100 x 50 x 5 x 2000 mm | 2 | 1 | 550940 | 49.76
64 | 2 | Material | Travers/ Cross arm UNP 100 x 50 x 5 x 2400 mm | 2 | 1 | 706570 | 50.33
65 | 2 | Material | Tupang Travers/Cross arm/Besi Strip | 2 | 1 | 61700 | 50
66 | 2 | Material | Besi L panjang 700 mm, 50x50x5mm. | 2 | 1 | 101270 | 50
67 | 2 | Material | Besi L panjang 1200 mm, 50x50x5mm. | 2 | 1 | 173590 | 50
68 | 2 | Material | Dudukan gardu tiang 1 phasa cantol | 3 | 1 | 1368700 | 50
69 | 2 | Material | Dudukan gardu tiang 3 phasa cantol | 3 | 1 | 2238440 | 50
70 | 2 | Material | Dudukan gardu tiang 3 phasa portal | 3 | 1 | 4243060 | 50
71 | 2 | Material | Pole mounthing bracket for FCO. | 2 | 1 | 27100 | 50
72 | 2 | Material | Pole mounthing bracket for LA. | 2 | 1 | 27100 | 50
73 | 2 | Material | Papan kayu 200x30x3 cm Papan Kayu Kelas I (2 Lembar) | 3 | 1 | 387260 | 50
74 | 2 | Material | Plat Bordes 2320x600x min1,6 mm | 2 | 1 | 439140 | 50
75 | 2 | Material | Terminal lugs /Sepatu Cable Al 35 mm² | 2 | 1 | 13900 | 60.68
76 | 2 | Material | Terminal lugs /Sepatu Cable Al 50 mm² | 2 | 1 | 16400 | 60.68
77 | 2 | Material | Terminal lugs /Sepatu Cable Al 70 mm² | 2 | 1 | 17900 | 60.68
78 | 2 | Material | Terminal lugs /Sepatu Cable Al 95 mm² | 2 | 1 | 26700 | 60.68
79 | 2 | Material | Terminal lugs /Sepatu Cable Al 120 mm² | 2 | 1 | 42370 | 60.68
80 | 2 | Material | Terminal lugs /Sepatu Cable Al 150 mm² | 2 | 1 | 45300 | 60.68
81 | 2 | Material | Terminal lugs /Sepatu Cable Al 185 mm² | 2 | 1 | 52390 | 60.68
82 | 2 | Material | Terminal lugs /Sepatu Cable Al 240 mm² | 2 | 1 | 67970 | 60.68
83 | 2 | Material | Terminal lugs /Sepatu Cable Cu 25 mm² | 2 | 1 | 41100 | 96.64
84 | 2 | Material | Terminal lugs /Sepatu Cable Cu 35 mm² | 2 | 1 | 40090 | 96.64
85 | 2 | Material | Terminal lugs /Sepatu Cable Cu 50 mm² | 2 | 1 | 58000 | 96.64
86 | 2 | Material | Terminal lugs /Sepatu Cable Cu 70 mm² | 2 | 1 | 66130 | 96.64
87 | 2 | Material | Terminal lugs /Sepatu Cable Cu 95 mm² | 2 | 1 | 86440 | 96.64
88 | 2 | Material | Terminal lugs /Sepatu Cable Cu 120 mm² | 2 | 1 | 91520 | 96.64
89 | 2 | Material | Terminal lugs /Sepatu Cable Cu 150 mm² | 2 | 1 | 135790 | 96.64
90 | 2 | Material | Terminal lugs /Sepatu Cable Cu 185 mm² | 2 | 1 | 218500 | 96.64
91 | 2 | Material | Terminal lugs /Sepatu Cable Cu 240 mm² | 2 | 1 | 267000 | 96.64
92 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 25 mm² | 2 | 1 | 41100 | 89.6
93 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 35 mm² | 2 | 1 | 41800 | 89.6
94 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 50 mm² | 2 | 1 | 58000 | 89.6
95 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 70 mm² | 2 | 1 | 67100 | 89.6
96 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 70 mm² (2 lubang) | 2 | 1 | 77480 | 89.6
97 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 95 mm² | 2 | 1 | 88400 | 89.6
98 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 120 mm² | 2 | 1 | 93400 | 89.6
99 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 150 mm² (1 lubang) | 2 | 1 | 94610 | 89.6
100 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 150 mm² (2 lubang) | 2 | 1 | 117510 | 89.6
101 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 185 mm² (2 lubang) | 2 | 1 | 168400 | 89.6
102 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 240 mm² (1 lubang) | 2 | 1 | 104080 | 89.6
103 | 2 | Material | Terminal lugs /Sepatu Cable Bimetal (Al/Cu) 240 mm² (2 lubang) | 2 | 1 | 168660 | 89.6
104 | 2 | Material | Pipa galvanized 1" x 1.000 mm medium B | 2 | 1 | 29200 | 25.43
105 | 2 | Material | Pipa galvanized 1" x 3.000 mm medium B | 2 | 1 | 80500 | 25.43
106 | 2 | Material | Pipa galvanized 1" x 6.000 mm medium B | 2 | 1 | 190590 | 25.43
107 | 2 | Material | Pipa galvanized 1.5" x 6.000 mm medium B | 2 | 1 | 242660 | 25.43
108 | 2 | Material | Pipa galvanized 3" x 1.000 mm medium B | 2 | 1 | 95900 | 25.43
109 | 2 | Material | Pipa galvanized 3" x 5.000 mm medium B | 2 | 1 | 465750 | 25.43
110 | 2 | Material | Pipa galvanized 3" x 6.000 mm medium B | 2 | 1 | 434700 | 25.43
111 | 2 | Material | Pipa galvanized 4" x 6.000 mm medium A | 2 | 1 | 921550 | 25.43
112 | 2 | Material | Pipa galvanized 4" x 6.000 mm medium B | 2 | 1 | 832660 | 25.43
113 | 2 | Material | Pipa galvanized 5" x 6.000 mm medium A | 2 | 1 | 1790840 | 25.43
114 | 2 | Material | Pipa galvanized 5" x 6.000 mm medium B | 2 | 1 | 1365080 | 25.43
115 | 2 | Material | Pipa PVC 1" x 6.000 mm (Setara Maspion) | 2 | 1 | 8800 | 44.03
116 | 2 | Material | Pipa PVC 3" x 6.000 mm (Setara Maspion) | 2 | 1 | 106200 | 44.03
117 | 2 | Material | Pipa PVC 4" x 6.000 mm (Setara Maspion) | 2 | 1 | 159250 | 44.03
118 | 2 | Material | Pipa PVC 5" x 6.000 mm (Setara Maspion) | 2 | 1 | 164500 | 44.03
119 | 2 | Material | Knee galvanized 1" | 2 | 1 | 18800 | 25.43
120 | 2 | Material | Knee galvanized 3" | 2 | 1 | 63740 | 25.43
121 | 2 | Material | Knee galvanized 4" | 2 | 1 | 220400 | 25.43
122 | 2 | Material | Knee galvanized 5" | 2 | 1 | 63700 | 25.43
123 | 2 | Material | Knee PVC 1" | 2 | 1 | 6900 | 44.03
124 | 2 | Material | Knee PVC 3" | 2 | 1 | 36200 | 44.03
125 | 2 | Material | Knee PVC 4" | 2 | 1 | 116280 | 44.03
126 | 2 | Material | Knee PVC 5" | 2 | 1 | 194160 | 44.03
127 | 2 | Material | Penghalang panjat | 2 | 1 | 118900 | 50
128 | 2 | Material | Papan tanda kilat/ Tanda bahaya | 2 | 1 | 63100 | 50
129 | 2 | Material | Tanda bahaya di gardu | 2 | 1 | 61600 | 50
130 | 2 | Material | Mur Baut 1/2" x 50 mm | 2 | 1 | 8900 | 60.3
131 | 2 | Material | Mur Baut 1/2" x 70 mm | 2 | 1 | 10490 | 60.3
132 | 2 | Material | Mur Baut 5/8" x 50 mm | 2 | 1 | 17580 | 60.3
133 | 2 | Material | Mur Baut 5/8" x 100 mm | 2 | 1 | 23600 | 60.3
134 | 2 | Material | Mur Baut 5/8" x 150 mm | 2 | 1 | 24200 | 60.3
135 | 2 | Material | Mur Baut 5/8" x 200 mm | 2 | 1 | 28900 | 60.3
136 | 2 | Material | Mur Baut 5/8" x 250 mm | 2 | 1 | 34200 | 60.3
137 | 2 | Material | Mur Baut 5/8" x 300 mm | 2 | 1 | 44200 | 60.3
138 | 2 | Material | Mur Baut 5/8" x 350mm | 2 | 1 | 34200 | 60.3
139 | 2 | Material | Bolt double arming 5/8" x50 mm | 2 | 1 | 14400 | 31.88
140 | 2 | Material | Bolt double arming 5/8" x200 mm | 2 | 1 | 29960 | 31.88
141 | 2 | Material | Bolt double arming 5/8" x250 mm | 2 | 1 | 31200 | 31.88
142 | 2 | Material | Bolt double arming 5/8" x300 mm | 2 | 1 | 32300 | 31.88
143 | 2 | Material | Bolt double arming 5/8" x350 mm | 2 | 1 | 35000 | 31.88
144 | 2 | Material | Bolt double arming 5/8" x400 mm | 2 | 1 | 42100 | 31.88
145 | 2 | Material | Eye bolt 5/8" x 300 mm | 2 | 1 | 17000 | 50
146 | 2 | Material | Ball Clevis | 2 | 1 | 45700 | 50
147 | 2 | Material | Socket Eyes | 2 | 1 | 45700 | 50
148 | 2 | Material | Cross Arm Clevis | 2 | 1 | 40300 | 50
149 | 2 | Material | Strain Clamp AAAC , ACSR ( 2 Bolt ) 25 - 70 mm2 | 2 | 1 | 56090 | 94.2
150 | 2 | Material | Strain Clamp AAAC , ACSR ( 2 Bolt ) 70 - 150 mm2 | 2 | 1 | 72180 | 94.2
151 | 2 | Material | Strain Clamp AAAC , ACSR ( 3 Bolt ) 150 - 240 mm2 | 2 | 1 | 156600 | 94.2
152 | 2 | Material | Strain Clamp AAAC , ACSR ( 3 Bolt ) 240 - 400 mm2 | 2 | 1 | 194020 | 94.2
153 | 2 | Material | Beugel + mur baut | 2 | 1 | 74600 | 52.38
154 | 2 | Material | Beugel + mur baut pengikat pipa 3" + mur baut | 3 | 1 | 94080 | 52.38
155 | 2 | Material | Double beugel / Clam Beugel | 3 | 1 | 69570 | 52.38
156 | 2 | Material | Double beugel khusus | 3 | 1 | 63400 | 52.38
157 | 2 | Material | Double beugel + Mur Baut Mata + Eye Bolt | 3 | 1 | 96270 | 52.38
158 | 2 | Material | Double beugel + spanscroef 5/8" / Clamp Schoer | 3 | 1 | 145380 | 52.38
159 | 2 | Material | Split bolt line tap to fit. | 2 | 1 | 26600 | 50
160 | 2 | Material | Splice Jointing rod 70 mm | 2 | 1 | 275750 | 50
161 | 2 | Material | Splice Jointing rod 150 mm | 2 | 1 | 276100 | 50
162 | 2 | Material | Helical Dead End + Socket Timble for 70 mm | 2 | 1 | 255630 | 50
163 | 2 | Material | Helical Dead End + Socket Timble for 150 mm | 2 | 1 | 299530 | 50
164 | 2 | Material | Guy Insulator 12 kV | 2 | 1 | 62400 | 50
165 | 2 | Material | Kaos baja / Thimble TM 5/8" | 2 | 1 | 12800 | 50
166 | 2 | Material | Kaos baja / Thimble TM 3/4" | 2 | 1 | 8200 | 50
167 | 2 | Material | Preformed dead end gsw 22 mm | 2 | 1 | 41940 | 50
168 | 2 | Material | Preformed dead end gsw 35 mm | 2 | 1 | 56000 | 50
169 | 2 | Material | Preformed dead end gsw 50 mm | 2 | 1 | 41900 | 50
170 | 2 | Material | U - klem 35 - 50 mm | 2 | 1 | 9200 | 50
171 | 2 | Material | Sackle Medium | 2 | 1 | 25800 | 50
172 | 2 | Material | Turn Buckle Medium /Span scroef 5/8" | 2 | 1 | 50080 | 50
173 | 2 | Material | Galvanized Steel Wire 22 mm2 | 9 | 1 | 12900 | 36.42
174 | 2 | Material | Galvanized Steel Wire 35 mm2 | 9 | 1 | 15450 | 36.42
175 | 2 | Material | Galvanized Steel Wire 50 mm2 | 9 | 1 | 17810 | 36.42
176 | 2 | Material | Galvanized Steel Wire 70 mm2 | 9 | 1 | 20100 | 36.42
177 | 2 | Material | Angker rod + klem penyambung + mur baut | 2 | 1 | 127400 | 50
178 | 2 | Material | Plat beton bertulang 40x40x10 cm | 2 | 1 | 57630 | 50
179 | 2 | Material | Plat beton bertulang 50x50x10 cm | 2 | 1 | 90050 | 50
180 | 2 | Material | Expanding Anchoor Rod - TM 5/8" x 2,5 mtr | 3 | 1 | 358970 | 50
181 | 2 | Material | Expanding Anchoor Rod - TR 5/8" x 2 mtr | 3 | 1 | 247160 | 50
182 | 2 | Material | Armor Rod | 2 | 1 | 205970 | 50
183 | 2 | Material | Guy Grip 22 mm2 | 2 | 1 | 27000 | 50
184 | 2 | Material | Guy Grip 35 mm2 | 2 | 1 | 42900 | 50
185 | 2 | Material | Guy Grip 70 mm2 | 2 | 1 | 60020 | 50
186 | 2 | Material | Preformed Top Tie 35 mm2 | 2 | 1 | 26830 | 31.49
187 | 2 | Material | Preformed Top Tie 70 mm2 | 2 | 1 | 42950 | 31.49
188 | 2 | Material | Preformed Top Tie 150 mm2 | 2 | 1 | 60020 | 31.49
189 | 2 | Material | Preformed Side Tie 35 mm2 | 2 | 1 | 27060 | 31.49
190 | 2 | Material | Preformed Side Tie 70 mm2 | 2 | 1 | 42950 | 31.49
191 | 2 | Material | Preformed Side Tie 150 mm2 | 2 | 1 | 59430 | 31.49
192 | 2 | Material | Preformed Double Side Tie for 70 mm2 | 2 | 1 | 76200 | 31.49
193 | 2 | Material | Bending Wire 5 mm2 | 9 | 1 | 14800 | 20.6
194 | 2 | Material | F Neck Double Side Ties without Armor Rod A3C 70 mm2 | 2 | 1 | 83820 | 31.49
195 | 2 | Material | F Neck Top Ties W/O Armor Rood A3C 70 mm2 | 2 | 1 | 59300 | 31.49
196 | 2 | Material | F Neck Plastic Top Ties Semicon A3C_S 70 mm2 | 2 | 1 | 64000 | 31.49
197 | 2 | Material | F Neck Plastic Top Ties Semicon A3C_S 150 mm2 | 2 | 1 | 68600 | 31.49
198 | 2 | Material | F Neck Plastic Top Ties Semicon A3C_S 240 mm2 | 2 | 1 | 74800 | 31.49
199 | 2 | Material | F Neck Plastic Double Side Ties Semicon A3C_S 70 mm2 | 2 | 1 | 117720 | 31.49
200 | 2 | Material | F Neck Plastic Double Side Ties Semicon A3C_S 150 mm2 | 2 | 1 | 118010 | 31.49
201 | 2 | Material | F Neck Plastic Double Side Ties Semicon A3C_S 240 mm2 | 2 | 1 | 116370 | 31.49
202 | 2 | Material | Small angle/Suspension Assembly 25-70 mm2 | 2 | 1 | 79170 | 80.75
203 | 2 | Material | Fixed Dead end assembly 25-35 mm2 | 2 | 1 | 90920 | 82.84
204 | 2 | Material | Fixed Dead end assembly 50-70 mm2 | 2 | 1 | 103350 | 82.84
205 | 2 | Material | Adjustable Dead end assembly 25-35 mm2 | 2 | 1 | 115870 | 82.84
206 | 2 | Material | Adjustable Dead end assembly 50-70 mm2 | 2 | 1 | 118960 | 82.84
207 | 2 | Material | Large angle assembly 25-35 mm2 | 2 | 1 | 101600 | 82.84
208 | 2 | Material | Large angle assembly 50-70 mm2 | 2 | 1 | 122500 | 82.84
209 | 2 | Material | Electrical & Mechanical Protection Set 25-70 mm2 | 2 | 1 | 116600 | 50
210 | 2 | Material | Stainless Steel Strap | 9 | 1 | 18150 | 50
211 | 2 | Material | Stopping Buckle | 2 | 1 | 3360 | 50
212 | 2 | Material | Stopping Buckle Stainless Steel | 2 | 1 | 5290 | 50
213 | 2 | Material | Link 25 x 25 mm | 2 | 1 | 3350 | 50
214 | 2 | Material | Link 25 x 50 mm | 2 | 1 | 4600 | 50
215 | 2 | Material | Sangga tupang tekan | 2 | 1 | 84800 | 50
216 | 2 | Material | Connector kedap air 35-70mm2 | 2 | 1 | 33420 | 50.02
217 | 2 | Material | Insulated tension joint 25 mm2 | 2 | 1 | 23100 | 67.31
218 | 2 | Material | Insulated tension joint 35 mm2 | 2 | 1 | 23100 | 67.31
219 | 2 | Material | Insulated tension joint 50 mm2 | 2 | 1 | 25800 | 67.31
220 | 2 | Material | Insulated tension joint 70 mm2 | 2 | 1 | 30000 | 67.31
221 | 2 | Material | Kawat BC draad 25 mm² | 9 | 1 | 65700 | 50
222 | 2 | Material | Kawat BC draad 50 mm² | 9 | 1 | 72290 | 50
223 | 2 | Material | Kawat BC draad 70 mm² | 9 | 1 | 80000 | 50
224 | 2 | Material | Pipa Arde 1,5 " x 3.000 mm lengkap | 3 | 1 | 502020 | 50
225 | 2 | Material | Unimax clamp 50 mm² / split bolt line tap for B27 | 2 | 1 | 34100 | 50
226 | 2 | Material | Ground Rod + Clamp 5/8" x 2 mtr | 3 | 1 | 176550 | 50
227 | 2 | Material | Ground Rod + Clamp 5/8 x 2,5 mtr | 3 | 1 | 205980 | 50
228 | 2 | Material | Clamp C ( C Connector ) 50 - 70 mm2 | 2 | 1 | 41190 | 50
229 | 2 | Material | Parallel Groove CU 50 mm2 | 2 | 1 | 43100 | 50
230 | 2 | Material | Comp Connector CU for grounding 70 + rubber tape | 2 | 1 | 47900 | 50
231 | 2 | Material | Suspension Assembly For MVTIC ( 0 - 10 Derajat ) | 3 | 1 | 473360 | 80.75
232 | 2 | Material | Suspension Assembly MVTIC for Large Angle ( 10 - 25 Derajat ) | 3 | 1 | 627200 | 80.75
233 | 2 | Material | Single Dead End Assembly For MVTIC | 3 | 1 | 593370 | 80.75
234 | 2 | Material | Double Dead End Assembly For MVTIC ( Peregang, > 25 derajat ) | 3 | 1 | 1145540 | 80.75
235 | 2 | Material | Dudukan Kubikel + Acrylic penutup | 3 | 1 | 958220 | 50
236 | 2 | Material | Double Beugel + Mour Baut untuk pipa 5" (Opstig KTM ) | 3 | 1 | 101410 | 50
237 | 2 | Material | Double Begel Galvanized 114 - 156 mm + baut | 3 | 1 | 85400 | 50
238 | 2 | Material | Double Begel Galvanized 175 - 215 mm + baut | 3 | 1 | 96250 | 50
239 | 2 | Material | Patok beton 20 x 20 x 70 cm tanda KTM PLN | 2 | 1 | 93000 | 50
240 | 2 | Material | Insulation Piercing Connector 10-25 (SPM) | 2 | 1 | 23600 | 50.02
241 | 2 | Material | Insulation Piercing Connector 35-70 (SPM) | 2 | 1 | 40450 | 50.02
242 | 2 | Material | Plastic Strap For JTR (20 Cm) | 2 | 1 | 2570 | 50
243 | 2 | Material | Plastic Strap For JTR (30 Cm) | 2 | 1 | 2680 | 50
244 | 2 | Material | Non Tension Joint Copper 50mm | 2 | 1 | 33200 | 68.17
245 | 2 | Material | Non Tension Joint Copper 70mm | 2 | 1 | 48230 | 68.17
246 | 2 | Material | Non Tension Joint Copper 95mm | 2 | 1 | 58730 | 68.17
247 | 2 | Material | Non Tension Joint Copper 150mm | 2 | 1 | 83620 | 68.17
248 | 2 | Material | Compression Repair Sleeve 35mm | 2 | 1 | 101590 | 50
249 | 2 | Material | Compression Repair Sleeve 70mm | 2 | 1 | 137790 | 50
250 | 2 | Material | Compression Repair Sleeve 150mm | 2 | 1 | 174130 | 50
251 | 2 | Material | Jumper Type C Copper 35-70 mm | 2 | 1 | 38100 | 50
252 | 2 | Material | Copper Compression Ground Rod Connector 5/8" 50 mm | 2 | 1 | 27300 | 50
253 | 2 | Material | Copper Compression Ground Rod Connector 5/8" 70 mm | 2 | 1 | 37100 | 50
254 | 2 | Material | Heatshrink / Isolasi Bakar Hitam/warna 25mm | 2 | 1 | 24570 | 50
255 | 2 | Material | Heatshrink / Isolasi Bakar Hitam/warna 35mm | 2 | 1 | 24600 | 50
256 | 2 | Material | Heatshrink / Isolasi Bakar Hitam/warna 50mm | 2 | 1 | 28980 | 50
257 | 2 | Material | Heatshrink / Isolasi Bakar Hitam/warna 70mm | 2 | 1 | 28980 | 50
258 | 2 | Material | Heatshrink / Isolasi Bakar Hitam/warna 120mm | 2 | 1 | 43500 | 50
259 | 2 | Material | Heatshrink / Isolasi Bakar Hitam/warna 150mm | 2 | 1 | 43500 | 50
260 | 2 | Material | Socket Galvanized 5" | 2 | 1 | 555740 | 31.66
261 | 2 | Material | Central Bracket + Mur Baut | 3 | 1 | 122600 | 50
262 | 2 | Material | Slide Bracket + Mur Baut | 3 | 1 | 117300 | 50
263 | 2 | Material | Cable Tray (20x30 cm) | 2 | 1 | 494180 | 40.88
Note on F131: Windows User: